## SystemSummary
TestSystemName | num_Area | num_TotalNode | num_TotalBranch | num_TotalNetSections | num_TotalTransformer | num_TotalThermalUnit | num_TotalPVPlant | num_TotalWTPlant | num_TotalLoad | BalanceNode | Duration | DAInterval
XJTU-ROTS | 3 | 44 | 58 | 2 | 12 | 32 | 4 | 5 | 30 | Bus_14 | 24 | 1

## UnitFuel
FuelTypeId | FuelTypeName | UnitPrice | COUnitEmissions | CO2UnitEmissions | SO2UnitEmissions | NOxUnitEmissions
Fuel_1 | 火电临时统一燃料 | 1500 | 0 | 0 | 0 | 0

## UnitThermalGenerators
ThermalUnitNumber | ThermalUnitName | ThermalPlantNumber | ThermalPlantName | BusName | AreaName | ControlWay | PowerBalanceFunction | Capacity | MinPower | InitStatus | InitStatusDuration | MinOnLineTime | MinOffLineTime | UpRamppingRate | DownRamppingRate | FuelType | StateOnFuelConsumption | OperationCoeff_A | OperationCoeff_B | OperationCoeff_C | DeepPeakShavingThreshold | DeepPeakShavingCost | Unnamed: 23 | Unnamed: 24 | Unnamed: 25 | MinPowerOperationCurve | MaxPowerOperationCurve | Unnamed: 28
Thermal_1 | G13#1 | ThermalPlant_1 | G13 | Bus_8 | A区 | PV | 0 | 600 | 240 | 1 | 24 | 8 | 5 | 360 | 360 | Fuel_1 | 571.4286 | 1.7e-05 | 0.235 | 23.0194 | 0.5 | 47 | 0 | 0 | 0 | string | string | 0
Thermal_2 | G13#2 | ThermalPlant_1 | G13 | Bus_8 | A区 | PV | 0 | 600 | 240 | 1 | 24 | 8 | 5 | 360 | 360 | Fuel_1 | 571.4286 | 1.7e-05 | 0.235 | 23.0194 | 0.5 | 47 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线1
Thermal_3 | G14#1 | ThermalPlant_2 | G14 | Bus_14 | A区 | Swing | 1 | 600 | 240 | 1 | 24 | 8 | 5 | 360 | 360 | Fuel_1 | 571.4286 | 1.7e-05 | 0.253 | 21.0194 | 0.5 | 50.6 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线2
Thermal_4 | G14#2 | ThermalPlant_2 | G14 | Bus_14 | A区 | PV | 0 | 600 | 240 | 1 | 24 | 8 | 5 | 360 | 360 | Fuel_1 | 571.4286 | 1.7e-05 | 0.253 | 21.0194 | 0.5 | 50.6 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线3
Thermal_5 | G14#3 | ThermalPlant_2 | G14 | Bus_14 | A区 | PV | 0 | 600 | 240 | 1 | 24 | 8 | 5 | 360 | 360 | Fuel_1 | 571.4286 | 1.7e-05 | 0.253 | 21.0194 | 0.5 | 50.6 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线4
Thermal_6 | G14#4 | ThermalPlant_2 | G14 | Bus_14 | A区 | PV | 0 | 600 | 240 | 1 | 24 | 8 | 5 | 360 | 360 | Fuel_1 | 571.4286 | 1.7e-05 | 0.253 | 21.0194 | 0.5 | 50.6 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线5
Thermal_7 | G15#1 | ThermalPlant_3 | G15 | Bus_18 | B区 | PV | 1 | 600 | 240 | 1 | 24 | 8 | 5 | 360 | 360 | Fuel_1 | 571.4286 | 1.7e-05 | 0.26 | 20.0194 | 0.5 | 52 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线6
Thermal_8 | G15#2 | ThermalPlant_3 | G15 | Bus_18 | B区 | PV | 0 | 600 | 240 | 1 | 24 | 8 | 5 | 360 | 360 | Fuel_1 | 571.4286 | 1.7e-05 | 0.26 | 20.0194 | 0.5 | 52 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线7
Thermal_9 | G16#1 | ThermalPlant_4 | G16 | Bus_26 | C区 | PV | 1 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.2e-05 | 0.2499 | 13.6349 | 0.5 | 49.98 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线8
Thermal_10 | G16#2 | ThermalPlant_4 | G16 | Bus_26 | C区 | PV | 0 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.2e-05 | 0.2499 | 13.6349 | 0.5 | 49.98 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线9
Thermal_11 | G16#3 | ThermalPlant_4 | G16 | Bus_26 | C区 | PV | 0 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.2e-05 | 0.2499 | 13.6349 | 0.5 | 49.98 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线10
Thermal_12 | G16#4 | ThermalPlant_4 | G16 | Bus_26 | C区 | PV | 0 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.2e-05 | 0.2499 | 13.6349 | 0.5 | 49.98 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线11
Thermal_13 | G16#5 | ThermalPlant_4 | G16 | Bus_26 | C区 | PV | 0 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.2e-05 | 0.2499 | 13.6349 | 0.5 | 49.98 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线12
Thermal_14 | G16#6 | ThermalPlant_4 | G16 | Bus_26 | C区 | PV | 0 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.2e-05 | 0.2499 | 13.6349 | 0.5 | 49.98 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线13
Thermal_15 | G17#1 | ThermalPlant_5 | G17 | Bus_28 | C区 | PV | 0 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.1e-05 | 0.254 | 12.995 | 0.5 | 50.8 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线14
Thermal_16 | G17#2 | ThermalPlant_5 | G17 | Bus_28 | C区 | PV | 0 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.1e-05 | 0.254 | 12.995 | 0.5 | 50.8 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线15
Thermal_17 | G17#3 | ThermalPlant_5 | G17 | Bus_28 | C区 | PV | 0 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.1e-05 | 0.254 | 12.995 | 0.5 | 50.8 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线16
Thermal_18 | G17#4 | ThermalPlant_5 | G17 | Bus_28 | C区 | PV | 0 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.1e-05 | 0.254 | 12.995 | 0.5 | 50.8 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线17
Thermal_19 | G17#5 | ThermalPlant_5 | G17 | Bus_28 | C区 | PV | 0 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.1e-05 | 0.254 | 12.995 | 0.5 | 50.8 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线18
Thermal_20 | G17#6 | ThermalPlant_5 | G17 | Bus_28 | C区 | PV | 0 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.1e-05 | 0.254 | 12.995 | 0.5 | 50.8 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线19
Thermal_21 | G18#1 | ThermalPlant_6 | G18 | Bus_44 | C区 | PV | 0 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.2e-05 | 0.2382 | 14.2485 | 0.5 | 47.64 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线20
Thermal_22 | G18#2 | ThermalPlant_6 | G18 | Bus_44 | C区 | PV | 0 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.2e-05 | 0.2382 | 14.2485 | 0.5 | 47.64 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线21
Thermal_23 | G18#3 | ThermalPlant_6 | G18 | Bus_44 | C区 | PV | 0 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.2e-05 | 0.2382 | 14.2485 | 0.5 | 47.64 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线22
Thermal_24 | G18#4 | ThermalPlant_6 | G18 | Bus_44 | C区 | PV | 0 | 200 | 90 | 1 | 24 | 5 | 4 | 90 | 90 | Fuel_1 | 214.2857 | 9.2e-05 | 0.2382 | 14.2485 | 0.5 | 47.64 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线23
Thermal_25 | G19#1 | ThermalPlant_7 | G19 | Bus_20 | B区 | PV | 0 | 300 | 130 | 1 | 24 | 6 | 4 | 150 | 150 | Fuel_1 | 428.5714 | 0.00016 | 0.2317 | 10.1872 | 0.5 | 46.34 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线24
Thermal_26 | G19#2 | ThermalPlant_7 | G19 | Bus_20 | B区 | PV | 0 | 300 | 130 | 1 | 24 | 6 | 4 | 150 | 150 | Fuel_1 | 428.5714 | 0.00016 | 0.2317 | 10.1872 | 0.5 | 46.34 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线25
Thermal_27 | G19#3 | ThermalPlant_7 | G19 | Bus_20 | B区 | PV | 0 | 300 | 130 | 1 | 24 | 6 | 4 | 150 | 150 | Fuel_1 | 428.5714 | 0.00016 | 0.2317 | 10.1872 | 0.5 | 46.34 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线26
Thermal_28 | G19#4 | ThermalPlant_7 | G19 | Bus_20 | B区 | PV | 0 | 300 | 130 | 1 | 24 | 6 | 4 | 150 | 150 | Fuel_1 | 428.5714 | 0.00016 | 0.2317 | 10.1872 | 0.5 | 46.34 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线27
Thermal_29 | G20#1 | ThermalPlant_8 | G20 | Bus_21 | B区 | PV | 0 | 300 | 130 | 1 | 24 | 6 | 4 | 180 | 180 | Fuel_1 | 428.5714 | 0.00015 | 0.2299 | 10.6686 | 0.5 | 45.98 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线28
Thermal_30 | G20#2 | ThermalPlant_8 | G20 | Bus_21 | B区 | PV | 0 | 300 | 130 | 1 | 24 | 6 | 4 | 180 | 180 | Fuel_1 | 428.5714 | 0.00015 | 0.2299 | 10.6686 | 0.5 | 45.98 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线29
Thermal_31 | G20#3 | ThermalPlant_8 | G20 | Bus_21 | B区 | PV | 0 | 300 | 130 | 1 | 24 | 6 | 4 | 180 | 180 | Fuel_1 | 428.5714 | 0.00015 | 0.2299 | 10.6686 | 0.5 | 45.98 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线30
Thermal_32 | G20#4 | ThermalPlant_8 | G20 | Bus_21 | B区 | PV | 0 | 300 | 130 | 1 | 24 | 6 | 4 | 180 | 180 | Fuel_1 | 428.5714 | 0.00015 | 0.2299 | 10.6686 | 0.5 | 45.98 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线31
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0¦0¦ | 0¦0¦ | 1 | 火电最小技术出力1 | 火电最大技术出力1 | 火电机组状态曲线32

## UnitWindGenerators
WTPlantID | WTPlantName | BusName | AreaName | Capacity | ResourceCurve
Wind_1 | G1 | Bus_1 | A区 | 400 | 风电资源1
Wind_2 | G2 | Bus_3 | A区 | 400 | 风电资源2
Wind_3 | G3 | Bus_4 | A区 | 400 | 风电资源2
Wind_4 | G4 | Bus_5 | A区 | 800 | 风电资源2
Wind_5 | G5 | Bus_41 | C区 | 100 | 风电资源3

## CurveWindResource
WTCurve | Time_0 | Time_1 | Time_2 | Time_3 | Time_4 | Time_5 | Time_6 | Time_7 | Time_8 | Time_9 | Time_10 | Time_11 | Time_12 | Time_13 | Time_14 | Time_15 | Time_16 | Time_17 | Time_18 | Time_19 | Time_20 | Time_21 | Time_22 | Time_23
风电资源1 | 0.29 | 0.21 | 0.33 | 0.31 | 0 | 0 | 0 | 0 | 0 | 0.13 | 0.18 | 0.12 | 0.04 | 0 | 0 | 0 | 0.03 | 0.37 | 0.39 | 0.4 | 0.45 | 0.52 | 0.46 | 0.35
风电资源2 | 0.01 | 0 | 0.14 | 0.26 | 0.36 | 0.43 | 0.6 | 0.6 | 0.59 | 0.56 | 0.47 | 0.35 | 0.29 | 0.16 | 0.29 | 0.24 | 0.36 | 0.21 | 0.31 | 0.31 | 0.26 | 0.36 | 0.34 | 0.38
风电资源3 | 0.35 | 0.28 | 0.27 | 0.17 | 0.22 | 0.2 | 0.13 | 0.05 | 0.05 | 0.14 | 0.1 | 0.04 | 0 | 0 | 0 | 0.01 | 0.16 | 0.07 | 0.05 | 0.15 | 0.23 | 0.29 | 0.42 | 0.51

## UnitSolarGenerators
PVPlantID | PVPlantName | BusName | AreaName | Capacity | ResourceCurve
Solar_1 | G6 | Bus_2 | A区 | 500 | 光伏资源1
Solar_2 | G7 | Bus_6 | A区 | 500 | 光伏资源2
Solar_3 | G8 | Bus_7 | A区 | 500 | 光伏资源2
Solar_4 | G9 | Bus_42 | C区 | 50 | 光伏资源3

## CurveSolarResource
PVCurve | Time_0 | Time_1 | Time_2 | Time_3 | Time_4 | Time_5 | Time_6 | Time_7 | Time_8 | Time_9 | Time_10 | Time_11 | Time_12 | Time_13 | Time_14 | Time_15 | Time_16 | Time_17 | Time_18 | Time_19 | Time_20 | Time_21 | Time_22 | Time_23
光伏资源1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04 | 0.16 | 0.32 | 0.3 | 0.31 | 0.4 | 0.27 | 0.17 | 0.08 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0
光伏资源2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02 | 0.08 | 0.13 | 0.17 | 0.31 | 0.37 | 0.18 | 0.2 | 0.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0
光伏资源3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04 | 0.12 | 0.19 | 0.28 | 0.23 | 0.22 | 0.25 | 0.15 | 0.07 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## StorElectrochemicalESS
ESSId | ESSName | BusName | MaxChargePower | MaxDisPower | MinSOC | MaxSOC | Capacity | ChargeEfficiency | DisEfficiency | AdjustDuration | InitSOC | InitChargeStatus | AdjustRatio | num_Circle | AreaName
Stor_1 | Stor_1 | Bus_8 | 300 | 300 | 0 | 1200 | 1200 | 0.85 | 0.85 | 24 | 500 | 0 | 0 | 0 | 0
Stor_2 | Stor_2 | Bus_10 | 300 | 300 | 0 | 1200 | 1200 | 0.85 | 0.85 | 24 | 500 | 0 | 0 | 0 | 0
Stor_3 | Stor_3 | Bus_12 | 300 | 300 | 0 | 1200 | 1200 | 0.85 | 0.85 | 24 | 500 | 0 | 0 | 0 | 0
Stor_4 | Stor_4 | Bus_15 | 300 | 300 | 0 | 1200 | 1200 | 0.85 | 0.85 | 24 | 500 | 0 | 0 | 0 | 0
Stor_5 | Stor_5 | Bus_42 | 50 | 50 | 0 | 200 | 200 | 0.85 | 0.85 | 24 | 50 | 0 | 0 | 0 | 0

## UnitRunoffHydroGenerators
RunoffHydroPlantName | RunoffHydroUnitName | BusName | AreaName | PowerBalanceFunction | Capacity | ResourceCurve
G10 | G10 | Bus_15 | A区 | 0 | 400 | 水电资源1
G11 | G11 | Bus_38 | C区 | 0 | 400 | 水电资源2
G12 | G12 | Bus_19 | B区 | 0 | 400 | 水电资源3

## CurveRunoffHydroResource
RunoffHydroOperationCurve | Time_0 | Time_1 | Time_2 | Time_3 | Time_4 | Time_5 | Time_6 | Time_7 | Time_8 | Time_9 | Time_10 | Time_11 | Time_12 | Time_13 | Time_14 | Time_15 | Time_16 | Time_17 | Time_18 | Time_19 | Time_20 | Time_21 | Time_22 | Time_23
水电资源1 | 0 | 0 | 0 | 0 | 0 | 0.75 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0.5 | 0 | 1 | 0.25 | 0 | 0 | 0
水电资源2 | 0 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.6 | 1 | 0 | 0 | 0 | 0 | 0
水电资源3 | 0 | 0.1 | 0 | 0 | 0 | 0 | 0.1 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.25 | 0.5 | 0.5 | 0.5 | 0.5 | 0.25 | 0 | 0 | 0 | 0

## NetTransformers
TransformerId | StartNodeName | EndNodeName | Resistance | Reactance | TransformerRatio | Capacity | AreaName
Tran_1 | Bus_8 | Bus_9 | 0 | 0.015997 | 1 | 750 | A区
Tran_2 | Bus_8 | Bus_9 | 0 | 0.015997 | 1 | 750 | A区
Tran_3 | Bus_10 | Bus_11 | 0 | 0.015997 | 1 | 750 | A区
Tran_4 | Bus_10 | Bus_11 | 0 | 0.015997 | 1 | 750 | A区
Tran_5 | Bus_12 | Bus_13 | 0 | 0.015997 | 1 | 750 | A区
Tran_6 | Bus_12 | Bus_13 | 0 | 0.015997 | 1 | 750 | A区
Tran_7 | Bus_24 | Bus_25 | 0 | 0.018643 | 1 | 750 | C区
Tran_8 | Bus_24 | Bus_25 | 0 | 0.018643 | 1 | 750 | C区
Tran_9 | Bus_26 | Bus_27 | 0 | 0.018643 | 1 | 750 | C区
Tran_10 | Bus_26 | Bus_27 | 0 | 0.018643 | 1 | 750 | C区
Tran_11 | Bus_28 | Bus_29 | 0 | 0.018643 | 1 | 750 | C区
Tran_12 | Bus_28 | Bus_29 | 0 | 0.018643 | 1 | 750 | C区

## NetBuses
BusId | BusName | BusArea | VoltageLevel
Bus_1 | A1 | A区 | 220
Bus_2 | A2 | A区 | 220
Bus_3 | A3 | A区 | 220
Bus_4 | A4 | A区 | 220
Bus_5 | A5 | A区 | 220
Bus_6 | A6 | A区 | 220
Bus_7 | A7 | A区 | 220
Bus_8 | A8H | A区 | 500
Bus_9 | A8M | A区 | 220
Bus_10 | A9H | A区 | 500
Bus_11 | A9M | A区 | 220
Bus_12 | A10H | A区 | 500
Bus_13 | A10M | A区 | 220
Bus_14 | A11 | A区 | 500
Bus_15 | A12 | A区 | 500
Bus_16 | B13 | B区 | 500
Bus_17 | B14 | B区 | 500
Bus_18 | B15 | B区 | 500
Bus_19 | B16 | B区 | 500
Bus_20 | B17 | B区 | 500
Bus_21 | B18 | B区 | 500
Bus_22 | B19 | B区 | 500
Bus_23 | B20 | B区 | 500
Bus_24 | C21H | C区 | 500
Bus_25 | C21M | C区 | 220
Bus_26 | C22H | C区 | 500
Bus_27 | C22M | C区 | 220
Bus_28 | C23H | C区 | 500
Bus_29 | C23M | C区 | 220
Bus_30 | C24 | C区 | 220
Bus_31 | C25 | C区 | 220
Bus_32 | C26 | C区 | 220
Bus_33 | C27 | C区 | 220
Bus_34 | C28 | C区 | 220
Bus_35 | C29 | C区 | 220
Bus_36 | C30 | C区 | 220
Bus_37 | C31 | C区 | 220
Bus_38 | C32 | C区 | 220
Bus_39 | C33 | C区 | 220
Bus_40 | C34 | C区 | 220
Bus_41 | C35 | C区 | 220
Bus_42 | C36 | C区 | 220
Bus_43 | C37 | C区 | 220
Bus_44 | C38 | C区 | 220

## NetSectionsLines
NetSectionId | BranchId | BranchDirection
Sect_1 | Line_9 | TRUE
Sect_1 | Line_10 | TRUE
Sect_1 | Line_11 | TRUE
Sect_1 | Line_12 | TRUE
Sect_2 | Line_22 | TRUE
Sect_2 | Line_23 | TRUE
Sect_2 | Line_26 | TRUE

## NetSectionsCapacity
NetSectionId | NetSectionName | Capacity | StartSystemName | EndSystemName
Sect_1 | A-B断面 | 7000 | A区 | B区
Sect_2 | B-C断面 | 4500 | B区 | C区

## NetLines
BranchId | StartNodeName | EndNodeName | Resistance | Reactance | Susceptance | Capacity | AreaName
Line_1 | Bus_8 | Bus_10 | 0 | 0.009905 | 0 | 2045 | A区
Line_2 | Bus_8 | Bus_12 | 0 | 0.010895 | 0 | 2045 | A区
Line_3 | Bus_8 | Bus_12 | 0 | 0.010895 | 0 | 2045 | A区
Line_4 | Bus_8 | Bus_14 | 0 | 0.010895 | 0 | 2045 | A区
Line_5 | Bus_8 | Bus_14 | 0 | 0.010895 | 0 | 2045 | A区
Line_6 | Bus_10 | Bus_14 | 0 | 0.015848 | 0 | 2045 | A区
Line_7 | Bus_12 | Bus_15 | 0 | 0.014959 | 0 | 2434 | A区
Line_8 | Bus_12 | Bus_15 | 0 | 0.014959 | 0 | 2434 | A区
Line_13 | Bus_16 | Bus_17 | 0 | 0.009905 | 0 | 2045 | B区
Line_14 | Bus_16 | Bus_17 | 0 | 0.009905 | 0 | 2045 | B区
Line_15 | Bus_16 | Bus_19 | 0 | 0.012876 | 0 | 2045 | B区
Line_16 | Bus_16 | Bus_20 | 0 | 0.014857 | 0 | 2045 | B区
Line_17 | Bus_16 | Bus_21 | 0 | 0.015848 | 0 | 2045 | B区
Line_18 | Bus_17 | Bus_18 | 0 | 0.010895 | 0 | 2045 | B区
Line_19 | Bus_18 | Bus_19 | 0 | 0.009905 | 0 | 2045 | B区
Line_20 | Bus_18 | Bus_19 | 0 | 0.009905 | 0 | 2045 | B区
Line_21 | Bus_19 | Bus_22 | 0 | 0.017829 | 0 | 2045 | B区
Line_24 | Bus_21 | Bus_22 | 0 | 0.010895 | 0 | 2045 | B区
Line_25 | Bus_22 | Bus_23 | 0 | 0.007924 | 0 | 2045 | B区
Line_27 | Bus_1 | Bus_9 | 0 | 0.008703 | 0 | 533 | A区
Line_28 | Bus_2 | Bus_9 | 0 | 0.006527 | 0 | 533 | A区
Line_29 | Bus_3 | Bus_11 | 0 | 0.004351 | 0 | 533 | A区
Line_30 | Bus_4 | Bus_11 | 0 | 0.004351 | 0 | 533 | A区
Line_31 | Bus_5 | Bus_11 | 0 | 0.004895 | 0 | 533 | A区
Line_32 | Bus_5 | Bus_11 | 0 | 0.004895 | 0 | 533 | A区
Line_33 | Bus_6 | Bus_13 | 0 | 0.005439 | 0 | 533 | A区
Line_34 | Bus_6 | Bus_13 | 0 | 0.005439 | 0 | 533 | A区
Line_35 | Bus_7 | Bus_13 | 0 | 0.007615 | 0 | 533 | A区
Line_36 | Bus_7 | Bus_13 | 0 | 0.007615 | 0 | 533 | A区
Line_37 | Bus_31 | Bus_30 | 0 | 0.004418 | 0 | 448 | C区
Line_38 | Bus_31 | Bus_25 | 0 | 0.006527 | 0 | 533 | C区
Line_39 | Bus_31 | Bus_25 | 0 | 0.006527 | 0 | 533 | C区
Line_40 | Bus_31 | Bus_33 | 0 | 0.005523 | 0 | 448 | C区
Line_41 | Bus_31 | Bus_33 | 0 | 0.005523 | 0 | 448 | C区
Line_42 | Bus_32 | Bus_36 | 0 | 0.004418 | 0 | 448 | C区
Line_43 | Bus_33 | Bus_38 | 0 | 0.004418 | 0 | 448 | C区
Line_44 | Bus_33 | Bus_40 | 0 | 0.004418 | 0 | 448 | C区
Line_45 | Bus_34 | Bus_25 | 0 | 0.006527 | 0 | 533 | C区
Line_46 | Bus_34 | Bus_27 | 0 | 0.008703 | 0 | 533 | C区
Line_47 | Bus_34 | Bus_27 | 0 | 0.008703 | 0 | 533 | C区
Line_48 | Bus_34 | Bus_35 | 0 | 0.004418 | 0 | 448 | C区
Line_49 | Bus_36 | Bus_27 | 0 | 0.010879 | 0 | 533 | C区
Line_50 | Bus_36 | Bus_27 | 0 | 0.010879 | 0 | 533 | C区
Line_51 | Bus_36 | Bus_42 | 0 | 0.007732 | 0 | 448 | C区
Line_52 | Bus_36 | Bus_42 | 0 | 0.007732 | 0 | 448 | C区
Line_53 | Bus_36 | Bus_37 | 0 | 0.008836 | 0 | 448 | C区
Line_54 | Bus_36 | Bus_37 | 0 | 0.008836 | 0 | 448 | C区
Line_55 | Bus_38 | Bus_43 | 0 | 0.004418 | 0 | 448 | C区
Line_56 | Bus_37 | Bus_29 | 0 | 0.004351 | 0 | 533 | C区
Line_57 | Bus_37 | Bus_29 | 0 | 0.004351 | 0 | 533 | C区
Line_58 | Bus_37 | Bus_44 | 0 | 0.011045 | 0 | 448 | C区
Line_59 | Bus_38 | Bus_39 | 0 | 0.004418 | 0 | 448 | C区
Line_60 | Bus_40 | Bus_41 | 0 | 0.007732 | 0 | 448 | C区
Line_61 | Bus_41 | Bus_25 | 0 | 0.016318 | 0 | 533 | C区
Line_62 | Bus_41 | Bus_42 | 0 | 0.014359 | 0 | 448 | C区
Line_63 | Bus_41 | Bus_42 | 0 | 0.014359 | 0 | 448 | C区
Line_64 | Bus_42 | Bus_44 | 0 | 0.013255 | 0 | 448 | C区
Line_65 | Bus_42 | Bus_44 | 0 | 0.013255 | 0 | 448 | C区

## NetHVACTieLine
ACTieLineId | SendBusID | ReceiveBusID | Resistance | Reactance | Susceptance | Capacity | Unnamed: 7 | LinelossRatio | Unnamed: 9 | StartAreaName | EndAreaName
ACLine_9 | Bus_14 | Bus_16 | 0 | 0.026926 | 0 | 2434 | 35 | 0.03 | ACLine_9功率曲线 | A区 | B区
ACLine_10 | Bus_14 | Bus_16 | 0 | 0.026926 | 0 | 2434 | 35 | 0.03 | ACLine_10功率曲线 | A区 | B区
ACLine_11 | Bus_15 | Bus_17 | 0 | 0.014959 | 0 | 2434 | 30 | 0.02 | ACLine_11功率曲线 | A区 | B区
ACLine_12 | Bus_15 | Bus_17 | 0 | 0.014959 | 0 | 2434 | 30 | 0.02 | ACLine_12功率曲线 | A区 | B区
ACLine_22 | Bus_20 | Bus_24 | 0 | 0.009905 | 0 | 2045 | 55 | 0.01 | ACLine_22功率曲线 | B区 | C区
ACLine_23 | Bus_21 | Bus_26 | 0 | 0.009905 | 0 | 2045 | 50 | 0.01 | ACLine_23功率曲线 | B区 | C区
ACLine_26 | Bus_23 | Bus_28 | 0 | 0.010895 | 0 | 2045 | 45 | 0.01 | ACLine_26功率曲线 | B区 | C区

## EnergyHVACTieLine
资源曲线名称 | T_1 | T_2 | T_3 | T_4 | T_5 | T_6 | T_7 | T_8 | T_9 | T_10 | T_11 | T_12 | T_13 | T_14 | T_15 | T_16 | T_17 | T_18 | T_19 | T_20 | T_21 | T_22 | T_23 | T_24
ACLine_9功率曲线 | 520 | 520 | 720 | 820 | 820 | 820 | 820 | 870 | 870 | 870 | 870 | 820 | 820 | 820 | 820 | 820 | 820 | 820 | 870 | 870 | 870 | 870 | 870 | 870
ACLine_10功率曲线 | 520 | 520 | 720 | 820 | 820 | 820 | 820 | 870 | 870 | 870 | 870 | 820 | 820 | 820 | 820 | 820 | 820 | 820 | 870 | 870 | 870 | 870 | 870 | 870
ACLine_11功率曲线 | 320 | 520 | 520 | 570 | 620 | 620 | 670 | 670 | 720 | 720 | 720 | 720 | 720 | 670 | 670 | 670 | 670 | 620 | 670 | 670 | 670 | 720 | 720 | 720
ACLine_12功率曲线 | 320 | 520 | 520 | 570 | 620 | 620 | 670 | 670 | 720 | 720 | 720 | 720 | 720 | 670 | 670 | 670 | 670 | 620 | 670 | 670 | 670 | 720 | 720 | 720
ACLine_22功率曲线 | 1100 | 1100 | 1350 | 1550 | 1550 | 1550 | 1550 | 1550 | 1550 | 1550 | 1550 | 1550 | 1550 | 1550 | 1550 | 1550 | 1550 | 1310 | 1450 | 1450 | 1450 | 1550 | 1550 | 1550
ACLine_23功率曲线 | 500 | 470 | 590 | 650 | 650 | 650 | 550 | 550 | 550 | 450 | 450 | 450 | 450 | 550 | 550 | 550 | 500 | 500 | 500 | 470 | 470 | 470 | 500 | 490
ACLine_26功率曲线 | 30 | 30 | 30 | 30 | 30 | 30 | 55 | 30 | 30 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130

## Loads
负荷编号 | 负荷名称 | 所在母线编号 | 所属区域名称 | 负荷曲线名称 | 有功比例系数 | 最小响应能力 | 最大响应能力 | 是否可中断 | 是否可转移 | 中断成本（元/MW） | 转移成本（元/MW） | 最大响应持续时间(h) | 最小响应持续时间(h) | 最大响应次数 | 单位补贴（元/MW） | 可响应时段 | 报量1(为最大最小响应能力之间的比例) | 报价1(元/MWh) | 报量2 | 报价2(元/MWh) | 报量3 | 报价3(元/MWh)
LoadId | LoadName | BusName | AreaName | LodCurveName | ActivePowerCoef | 0 | 0 | IsInterrupt | IsTransforable | InterruptCost | TransforCost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
string | string | string | string | string | double | 0 | 0 | bool | bool | double | double | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Load_1 | Load_1 | Bus_8 | A区 | 负荷曲线1 | 60 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 2 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_2 | Load_2 | Bus_10 | A区 | 负荷曲线1 | 200 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 2 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_3 | Load_3 | Bus_12 | A区 | 负荷曲线1 | 300 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 2 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_4 | Load_4 | Bus_14 | A区 | 负荷曲线1 | 64 | 0.01 | 0.05 | TRUE | TRUE | 250000 | 200000 | 2 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_5 | Load_5 | Bus_16 | B区 | 负荷曲线1 | 1400 | 0.01 | 0.05 | TRUE | TRUE | 250000 | 200000 | 2 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_6 | Load_6 | Bus_17 | B区 | 负荷曲线1 | 1200 | 0.01 | 0.05 | TRUE | TRUE | 250000 | 200000 | 2 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_7 | Load_7 | Bus_18 | B区 | 负荷曲线1 | 614 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 2 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_8 | Load_8 | Bus_19 | B区 | 负荷曲线1 | 630 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 2 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_9 | Load_9 | Bus_20 | B区 | 负荷曲线1 | 84 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 2 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_10 | Load_10 | Bus_21 | B区 | 负荷曲线1 | 390 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 2 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_11 | Load_11 | Bus_24 | C区 | 负荷曲线1 | 480 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_12 | Load_12 | Bus_26 | C区 | 负荷曲线1 | 426 | 0.01 | 0.05 | TRUE | TRUE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_13 | Load_13 | Bus_22 | B区 | 负荷曲线1 | 610 | 0.01 | 0.05 | TRUE | TRUE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_14 | Load_14 | Bus_23 | B区 | 负荷曲线1 | 800 | 0.01 | 0.05 | TRUE | TRUE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_15 | Load_15 | Bus_28 | C区 | 负荷曲线1 | 576 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_16 | Load_16 | Bus_30 | C区 | 负荷曲线1 | 165 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_17 | Load_17 | Bus_31 | C区 | 负荷曲线1 | 360 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_18 | Load_18 | Bus_32 | C区 | 负荷曲线1 | 144 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_19 | Load_19 | Bus_33 | C区 | 负荷曲线1 | 180 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_20 | Load_20 | Bus_34 | C区 | 负荷曲线1 | 510 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_21 | Load_21 | Bus_35 | C区 | 负荷曲线1 | 153 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_22 | Load_22 | Bus_36 | C区 | 负荷曲线1 | 225 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_23 | Load_23 | Bus_37 | C区 | 负荷曲线1 | 258 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_24 | Load_24 | Bus_38 | C区 | 负荷曲线1 | 210 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_25 | Load_25 | Bus_39 | C区 | 负荷曲线1 | 144 | 0.01 | 0.05 | TRUE | FALSE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_26 | Load_26 | Bus_40 | C区 | 负荷曲线1 | 450 | 0.01 | 0.05 | TRUE | TRUE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_27 | Load_27 | Bus_41 | C区 | 负荷曲线1 | 690 | 0.01 | 0.05 | TRUE | TRUE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_28 | Load_28 | Bus_42 | C区 | 负荷曲线1 | 516 | 0.01 | 0.05 | TRUE | TRUE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_29 | Load_29 | Bus_43 | C区 | 负荷曲线1 | 217.5 | 0.01 | 0.05 | TRUE | TRUE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000
Load_30 | Load_30 | Bus_44 | C区 | 负荷曲线1 | 399 | 0.01 | 0.05 | TRUE | TRUE | 250000 | 200000 | 3 | 1 | 1 | 300000 | 0¦23¦ | 0.01 | 100000 | 0.02 | 250000 | 0.02 | 450000

## CurveLoad
LoadCurve | Time_0 | Time_1 | Time_2 | Time_3 | Time_4 | Time_5 | Time_6 | Time_7 | Time_8 | Time_9 | Time_10 | Time_11 | Time_12 | Time_13 | Time_14 | Time_15 | Time_16 | Time_17 | Time_18 | Time_19 | Time_20 | Time_21 | Time_22 | Time_23
负荷曲线1 | 0.53711 | 0.50505 | 0.481 | 0.47298 | 0.47298 | 0.481 | 0.59323 | 0.68943 | 0.76158 | 0.76959 | 0.76959 | 0.76158 | 0.76158 | 0.76158 | 0.74554 | 0.75356 | 0.79364 | 0.80166 | 0.80166 | 0.76959 | 0.72951 | 0.66538 | 0.58521 | 0.50505

## 水库库容-水位初始数据
24.5399 | 1001.039 | Unnamed: 2 | 142.1687 | 900.2778 | Unnamed: 5 | 23.2739 | 790.9346 | Unnamed: 8 | 106.0096 | 650.4023 | Unnamed: 11 | Unnamed: 12 | 1.0373 | 224.9458 | 来水量曲线
61.3497 | 1006.8831 | 0 | 154.2169 | 903.3333 | 0 | 25.1448 | 792.624 | 0 | 124.0385 | 653.2146 | 0 | 0 | 1.2448 | 222.3427 | 0
98.1595 | 1014.4805 | 0 | 164.257 | 905.5556 | 0 | 28.4187 | 794.6871 | 0 | 148.0769 | 657.2318 | 0 | 0 | 1.4177 | 219.3059 | 0
147.2393 | 1022.0779 | 0 | 178.3133 | 908.3333 | 0 | 32.1604 | 796.7494 | 0 | 184.1346 | 661.251 | 0 | 0 | 1.6598 | 217.1367 | 0
208.589 | 1028.5065 | 0 | 192.3695 | 911.6667 | 0 | 35.902 | 798.6236 | 0 | 202.1635 | 664.4646 | 0 | 0 | 1.9018 | 215.4013 | 0
269.9387 | 1033.7662 | 0 | 208.4337 | 914.4444 | 0 | 40.5791 | 800.4961 | 0 | 232.2115 | 668.4828 | 0 | 0 | 2.213 | 216.269 | 0
343.5583 | 1039.6104 | 0 | 226.506 | 917.5 | 0 | 45.7238 | 803.1201 | 0 | 256.25 | 672.0987 | 0 | 0 | 2.4896 | 216.7028 | 0
466.2577 | 1047.2078 | 0 | 244.5783 | 920.5556 | 0 | 49.9332 | 804.8053 | 0 | 286.2981 | 676.5182 | 0 | 0 | 2.6625 | 218.872 | 0
576.6871 | 1053.0519 | 0 | 262.6506 | 923.3333 | 0 | 55.5457 | 807.0523 | 0 | 322.3558 | 680.5374 | 0 | 0 | 2.9046 | 221.4751 | 0
723.9264 | 1060.0649 | 0 | 284.739 | 926.3889 | 0 | 61.1581 | 809.2993 | 0 | 358.4135 | 684.5565 | 0 | 0 | 3.1812 | 224.0781 | 0
858.8957 | 1065.3247 | 0 | 306.8273 | 929.4444 | 0 | 67.2383 | 811.5455 | 0 | 394.4712 | 688.977 | 0 | 0 | 3.3195 | 226.2473 | 0
1006.135 | 1071.1688 | 0 | 348.996 | 933.6111 | 0 | 73.7862 | 813.4146 | 0 | 442.5481 | 694.6035 | 0 | 0 | 3.527 | 229.718 | 0
1116.5644 | 1076.4286 | 0 | 371.0843 | 935.8333 | 0 | 81.2695 | 816.0344 | 0 | 490.625 | 698.6246 | 0 | 0 | 3.6999 | 232.7549 | 0
1386.5031 | 1083.4416 | 0 | 407.2289 | 938.8889 | 0 | 86.882 | 818.0934 | 0 | 562.7404 | 705.4589 | 0 | 0 | 3.8382 | 234.0564 | 0
1582.8221 | 1088.7013 | 0 | 429.3173 | 940.8333 | 0 | 93.4298 | 819.7744 | 0 | 634.8558 | 710.2865 | 0 | 0 | 4.0111 | 235.3579 | 0
1852.7607 | 1095.7143 | 0 | 459.4378 | 943.0556 | 0 | 100.9131 | 821.6419 | 0 | 682.9327 | 713.9063 | 0 | 0 | 4.2185 | 232.7549 | 0
2159.5092 | 1102.7273 | 0 | 485.5422 | 945.5556 | 0 | 108.3964 | 824.0736 | 0 | 743.0288 | 717.9293 | 0 | 0 | 4.3914 | 229.2842 | 0
2441.7178 | 1107.987 | 0 | 507.6305 | 947.2222 | 0 | 121.4922 | 827.2477 | 0 | 785.0962 | 719.9428 | 0 | 0 | 4.5297 | 226.2473 | 0
2601.227 | 1112.0779 | 0 | 539.759 | 950 | 0 | 134.588 | 830.2336 | 0 | 863.2212 | 723.166 | 0 | 0 | 4.668 | 221.9089 | 0
2920.2454 | 1116.7532 | 0 | 563.8554 | 951.6667 | 0 | 143.9421 | 832.2858 | 0 | 923.3173 | 726.3864 | 0 | 0 | 4.8064 | 219.7397 | 0
3312.8834 | 1123.1818 | 0 | 597.992 | 953.8889 | 0 | 149.0869 | 833.217 | 0 | 1007.4519 | 728.4065 | 0 | 0 | 4.9793 | 217.5705 | 0
3619.6319 | 1128.4416 | 0 | 624.0964 | 955.5556 | 0 | 155.167 | 834.5228 | 0 | 1109.6154 | 732.4363 | 0 | 0 | 5.2905 | 216.269 | 0
4012.2699 | 1132.5325 | 0 | 656.2249 | 957.5 | 0 | 160.7795 | 835.4531 | 0 | 1217.7885 | 736.0657 | 0 | 0 | 5.6017 | 214.9675 | 0
4282.2086 | 1136.6234 | 0 | 694.3775 | 960.2778 | 0 | 167.7951 | 836.9453 | 0 | 1313.9423 | 739.2919 | 0 | 0 | 5.9129 | 214.5336 | 0
4625.7669 | 1140.7143 | 0 | 724.498 | 961.9444 | 0 | 175.2784 | 837.8723 | 0 | 1350 | 740.1003 | 0 | 0 | 6.1203 | 214.5336 | 0
4932.5153 | 1144.8052 | 0 | 760.6426 | 963.8889 | 0 | 185.1002 | 839.5475 | 0 | 1428.125 | 742.5209 | 0 | 0 | 6.3278 | 217.1367 | 0
5239.2638 | 1148.3117 | 0 | 774.6988 | 964.7222 | 0 | 195.3898 | 841.2219 | 0 | 1500.2404 | 745.3418 | 0 | 0 | 6.4661 | 219.7397 | 0
5337.4233 | 1149.4805 | 0 | 804.8193 | 966.3889 | 0 | 200.0668 | 841.9658 | 0 | 1602.4038 | 747.3649 | 0 | 0 | 6.639 | 222.3427 | 0
0 | 0 | 0 | 842.9719 | 968.6111 | 0 | 207.5501 | 843.081 | 0 | 1704.5673 | 749.7894 | 0 | 0 | 6.8465 | 224.9458 | 0
0 | 0 | 0 | 873.0924 | 970.2778 | 0 | 216.9042 | 844.3808 | 0 | 1794.7115 | 752.2119 | 0 | 0 | 7.0194 | 225.3796 | 0
0 | 0 | 0 | 907.2289 | 972.2222 | 0 | 0 | 0 | 0 | 1908.8942 | 755.4409 | 0 | 0 | 7.2614 | 225.3796 | 0
0 | 0 | 0 | 951.4056 | 974.4444 | 0 | 0 | 0 | 0 | 2065.1442 | 758.2753 | 0 | 0 | 7.5035 | 223.6443 | 0
0 | 0 | 0 | 985.5422 | 976.3889 | 0 | 0 | 0 | 0 | 2137.2596 | 759.8923 | 0 | 0 | 7.8492 | 222.3427 | 0
0 | 0 | 0 | 999.5984 | 977.2222 | 0 | 0 | 0 | 0 | 2269.4712 | 762.3215 | 0 | 0 | 8.0913 | 222.3427 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2407.6923 | 764.3504 | 0 | 0 | 8.5754 | 223.6443 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2521.875 | 766.3754 | 0 | 0 | 9.0249 | 225.8134 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2618.0288 | 766.7922 | 0 | 0 | 9.3015 | 226.6811 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2702.1635 | 768.411 | 0 | 0 | 9.6473 | 227.115 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.9585 | 227.5488 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.408 | 229.2842 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8575 | 231.8872 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.2725 | 231.8872 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.6874 | 232.321 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.9986 | 232.321 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.2752 | 232.7549 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.5864 | 234.4902 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.8631 | 236.2256 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.0705 | 236.6594 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.278 | 235.7918 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.5546 | 233.6226 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.8313 | 231.8872 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.1079 | 229.2842 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.3499 | 225.8134 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.5574 | 222.7766 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.7303 | 221.0412 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.9378 | 219.3059 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.2144 | 219.3059 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.5256 | 222.3427 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.8022 | 225.3796 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.9405 | 226.6811 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.148 | 227.115 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.5284 | 228.4165 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.9433 | 230.1518 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.2891 | 228.4165 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.4965 | 225.8134 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.704 | 223.6443 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.8769 | 221.9089 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.1189 | 221.9089 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.3264 | 224.9458 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.5339 | 228.4165 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.7759 | 233.1887 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.9488 | 235.3579 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.4329 | 235.3579 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.8824 | 234.9241 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.4357 | 234.0564 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.9198 | 232.7549 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.4039 | 232.321 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22.0609 | 231.8872 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22.5795 | 234.9241 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22.9599 | 236.2256 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.3057 | 234.0564 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.4786 | 231.4534 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.6515 | 227.9826 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.8589 | 224.0781 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.0318 | 218.4382 | 0